## Raw Data
Table S1 - Raw Data of Outlet Umbulan |  |  |  |  | Table S2 - Raw Data of RM Winongan | [5 empty] | Table S3 - Raw Data of RM Bangil |  |  |  |  | Table S4 - Raw Data of RM Sidoarjo | [5 empty] | Table S5 - Raw Data of RM Putat Gede |  |  |  |  | Table S6 - Raw Data of RM Giri |  |  |  |  | Table S7 - Raw Data of 6 sites
| pH | Total Dissolved Solids (TDS) | Iron (Fe) | Residual Chlorine (Cl2) |  | pH | Total Dissolved Solids (TDS) | Iron (Fe) | Manganese (Mn) | Residual Chlorine (Cl2) |  | pH | Total Dissolved Solids (TDS) | Iron (Fe) | Residual Chlorine (Cl2) |  | pH | Total Dissolved Solids (TDS) | Iron (Fe) | Manganese (Mn) | Residual Chlorine (Cl2) |  | pH | Total Dissolved Solids (TDS) | Iron (Fe) | Residual Chlorine (Cl2) |  | pH | Total Dissolved Solids (TDS) | Iron (Fe) | Residual Chlorine (Cl2) | Resevoir Meter (RM)
2024-01-01 | 7.29 | 155 | 0.0319 | 0.45 | 2024-01-01 | 7.3 | 160 | 0.0319 | 0.0059 | 0.26 | 2024-01-01 | 7.42 | 155 | 0.0319 | 0.248 | 2024-01-01 | 7.28 | 157 | 0.0319 | 0.012 | 0.4 | 2024-01-01 | 7.39 | 162 | 0.0319 | 0.29 | 2024-01-01 | 7.33 | 158 | 0.0319 | 0.28 |  | Table S1 - Raw Data of Outlet Umbulan |  | Table S2 - Raw Data of RM Winongan |  | Table S3 - Raw Data of RM Bangil |  | Table S4 - Raw Data of RM Sidoarjo |  | Table S5 - Raw Data of RM Putat Gede |  | Table S6 - Raw Data of RM Giri
2024-02-01 | 7.57 | 153 | 0.0319 | 0.42 | 2024-02-01 | 7.54 | 153 | 0.0319 | 0.0059 | 0.34 | 2024-02-01 | 7.61 | 150 | 0.0319 | 0.36 | 2024-02-01 | 7.54 | 155 | 0.0319 | 0.0059 | 0.3 | 2024-02-01 | 7.49 | 156 | 0.0319 | 0.36 | 2024-02-01 | 7.51 | 155 | 0.0319 | 0.3 | Parameter | Rate | Dev | Rate2 | Dev3 | Rate4 | Dev5 | Rate6 | Dev7 | Rate8 | Dev9 | Rate10 | Dev11
2024-03-01 | 7.25 | 109 | 0.16 | 0.52 | 2024-03-01 | 7.28 | 107 | 0.0319 | 0.033 | 0.5 | 2024-03-01 | 7.28 | 109 | 0.0319 | 0.38 | 2024-03-01 | 7.08 | 113 | 0.0319 | 0.0059 | 0.47 | 2024-03-01 | 7.16 | 109 | 0.0319 | 0.5 | 2024-03-01 | 7.14 | 107 | 0.0319 | 0.45 | pH | 7.415 | 0.12917 | 7.3875 | 0.13875 | 7.4117 | 0.11194 | 7.3958 | 0.1075 | 7.3725 | 0.11333 | 7.3642 | 0.11583
2024-04-01 | 7.42 | 128 | 0.0319 | 0.23 | 2024-04-01 | 7.46 | 123 | 0.0319 | 0.0059 | 0.34 | 2024-04-01 | 7.41 | 118 | 0.0319 | 0.32 | 2024-04-01 | 7.46 | 122 | 0.0319 | 0.0059 | 0.36 | 2024-04-01 | 7.5 | 121 | 0.0319 | 0.44 | 2024-04-01 | 7.48 | 119 | 0.0319 | 0.45 | Total Dissolved Solids (TDS) | 132.5833 | 10.5833 | 131.8333 | 12.0278 | 132.6667 | 11.0556 | 133.75 | 12.375 | 134.6667 | 12.6111 | 135.4167 | 11.4167
2024-05-01 | 7.36 | 119 | 0.0319 | 0.46 | 2024-05-01 | 7.24 | 116 | 0.0319 | 0.0059 | 0.511 | 2024-05-01 | 7.35 | 128 | 0.0319 | 0.43 | 2024-05-01 | 7.26 | 126 | 0.0319 | 0.0059 | 0.284 | 2024-05-01 | 7.15 | 129 | 0.03 | 0.37 | 2024-05-01 | 7.26 | 146 | 0.036 | 0.29 | Iron (Fe) | 0.042575 | 0.019571 | 0.032075 | 0.00032083 | 0.03275 | 0.0014167 | 0.039158 | 0.013307 | 0.036925 | 0.0090125 | 0.033333 | 0.0023889
2024-06-01 | 7.68 | 129 | 0.0319 | 0.43 | 2024-06-01 | 7.74 | 126 | 0.034 | 0.0059 | 0.52 | 2024-06-01 | 7.58 | 134 | 0.0319 | 0.27 | 2024-06-01 | 7.5 | 132 | 0.0319 | 0.0059 | 0.47 | 2024-06-01 | 7.49 | 129 | 0.0319 | 0.38 | 2024-06-01 | 7.48 | 136 | 0.0319 | 0.28 | Residual Chlorine (Cl2) | 0.39333 | 0.053333 | 0.41425 | 0.091875 | 0.364 | 0.057667 | 0.39033 | 0.052944 | 0.36917 | 0.060972 | 0.34917 | 0.069028
2024-07-01 | 7.24 | 130 | 0.0319 | 0.32 | 2024-07-01 | 7.28 | 135 | 0.0319 | 0.0059 | 0.52 | 2024-07-01 | 7.24 | 133 | 0.033 | 0.44 | 2024-07-01 | 7.35 | 124 | 0.0319 | 0.0059 | 0.33 | 2024-07-01 | 7.4 | 128 | 0.0319 | 0.43 | 2024-07-01 | 7.43 | 130 | 0.0319 | 0.3 | Manganese (Mn) | < 0.006 |  | 0.0081583 | 0.0041403 | < 0.006 |  | 0.0064083 | 0.00093194 | < 0.006 |  | < 0.006
2024-08-01 | 7.56 | 147 | 0.0319 | 0.38 | 2024-08-01 | 7.52 | 141 | 0.0319 | 0.0059 | 0.31 | 2024-08-01 | 7.64 | 147 | 0.0319 | 0.34 | 2024-08-01 | 7.6 | 153 | 0.0319 | 0.0059 | 0.45 | 2024-08-01 | 7.54 | 155 | 0.091 | 0.28 | 2024-08-01 | 7.45 | 149 | 0.0319 | 0.31 | Aluminum (Al) | < 0.033
2024-09-01 | 7.62 | 134 | 0.0319 | 0.37 | 2024-09-01 | 7.51 | 133 | 0.0319 | 0.0059 | 0.47 | 2024-09-01 | 7.48 | 138 | 0.041 | 0.42 | 2024-09-01 | 7.38 | 142 | 0.119 | 0.0059 | 0.42 | 2024-09-01 | 7.47 | 136 | 0.035 | 0.46 | 2024-09-01 | 7.53 | 137 | 0.045 | 0.42 | E. coli | 0
2024-10-01 | 7.27 | 133 | 0.0319 | 0.39 | 2024-10-01 | 7.25 | 132 | 0.0319 | 0.0059 | 0.47 | 2024-10-01 | 7.27 | 129 | 0.0319 | 0.44 | 2024-10-01 | 7.51 | 132 | 0.0319 | 0.0059 | 0.44 | 2024-10-01 | 7.3 | 128 | 0.0319 | 0.26 | 2024-10-01 | 7.25 | 128 | 0.0319 | 0.47 | Coliform | 0
2024-11-01 | 7.38 | 137 | 0.0319 | 0.35 | 2024-11-01 | 7.34 | 141 | 0.0319 | 0.0059 | 0.27 | 2024-11-01 | 7.35 | 138 | 0.0319 | 0.3 | 2024-11-01 | 7.38 | 136 | 0.0319 | 0.0059 | 0.36 | 2024-11-01 | 7.38 | 140 | 0.0319 | 0.29 | 2024-11-01 | 7.36 | 135 | 0.0319 | 0.27 | Color | < 0.33
2024-12-01 | 7.34 | 117 | 0.0319 | 0.4 | 2024-12-01 | 7.19 | 115 | 0.0319 | 0.0059 | 0.46 | 2024-12-01 | 7.31 | 113 | 0.0319 | 0.42 | 2024-12-01 | 7.41 | 113 | 0.0319 | 0.0059 | 0.4 | 2024-12-01 | 7.2 | 123 | 0.0319 | 0.37 | 2024-12-01 | 7.15 | 125 | 0.0319 | 0.37 | Odor | odorless
| Rank pH | Rank Total Dissolved Solids (TDS) | Rank Iron (Fe) | Rank Residual Chlorine (Cl2) |  | Rank pH | Rank Total Dissolved Solids (TDS) | Rank Iron (Fe) | Rank Manganese (Mn) | Rank Residual Chlorine (Cl2) |  | Rank pH | Rank Total Dissolved Solids (TDS) | Rank Iron (Fe) | Rank Residual Chlorine (Cl2) |  | Rank pH | Rank Total Dissolved Solids (TDS) | Rank Iron (Fe) | Rank Manganese (Mn) | Rank Residual Chlorine (Cl2) |  | Rank pH | Rank Total Dissolved Solids (TDS) | Rank Iron (Fe) | Rank Residual Chlorine (Cl2) |  | Rank pH | Rank Total Dissolved Solids (TDS) | Rank Iron (Fe) | Rank Residual Chlorine (Cl2)
2024-01-01 | 9 | 1 | 7 | 3 |  | 7 | 1 | 7 | 7 | 12 |  | 5 | 1 | 7.5 | 12 |  | 10 | 1 | 7 | 1 | 6.5 |  | 7 | 1 | 7 | 9.5 |  | 8 | 1 | 7.5 | 10.5
2024-02-01 | 3 | 2 | 7 | 5 |  | 2 | 2 | 7 | 7 | 8.5 |  | 2 | 2 | 7.5 | 7 |  | 2 | 2 | 7 | 7 | 11 |  | 3.5 | 2 | 7 | 8 |  | 2 | 2 | 7.5 | 7.5
2024-03-01 | 11 | 12 | 1 | 1 |  | 8.5 | 12 | 7 | 1 | 4 |  | 10 | 12 | 7.5 | 6 |  | 12 | 11.5 | 7 | 7 | 1.5 |  | 11 | 12 | 7 | 1 |  | 12 | 12 | 7.5 | 2.5
2024-04-01 | 5 | 9 | 7 | 12 |  | 5 | 9 | 7 | 7 | 8.5 |  | 6 | 10 | 7.5 | 9 |  | 5 | 10 | 7 | 7 | 8.5 |  | 2 | 11 | 7 | 3 |  | 3.5 | 11 | 7.5 | 2.5
2024-05-01 | 7 | 10 | 7 | 2 |  | 11 | 10 | 7 | 7 | 3 |  | 7.5 | 9 | 7.5 | 3 |  | 11 | 8 | 7 | 7 | 12 |  | 12 | 6.5 | 12 | 6.5 |  | 9 | 4 | 2 | 9
2024-06-01 | 1 | 8 | 7 | 4 |  | 1 | 8 | 1 | 7 | 1.5 |  | 3 | 6 | 7.5 | 11 |  | 4 | 6.5 | 7 | 7 | 1.5 |  | 3.5 | 6.5 | 7 | 5 |  | 3.5 | 6 | 7.5 | 10.5
2024-07-01 | 12 | 7 | 7 | 11 |  | 8.5 | 5 | 7 | 7 | 1.5 |  | 12 | 7 | 2 | 1.5 |  | 9 | 9 | 7 | 7 | 10 |  | 6 | 8.5 | 7 | 4 |  | 6 | 8 | 7.5 | 7.5
2024-08-01 | 4 | 3 | 7 | 8 |  | 3 | 3.5 | 7 | 7 | 10 |  | 1 | 3 | 7.5 | 8 |  | 1 | 3 | 7 | 7 | 3 |  | 1 | 3 | 1 | 11 |  | 5 | 3 | 7.5 | 6
2024-09-01 | 2 | 5 | 7 | 9 |  | 4 | 6 | 7 | 7 | 5.5 |  | 4 | 4.5 | 1 | 4.5 |  | 7.5 | 4 | 1 | 7 | 5 |  | 5 | 5 | 2 | 2 |  | 1 | 5 | 1 | 4
2024-10-01 | 10 | 6 | 7 | 7 |  | 10 | 7 | 7 | 7 | 5.5 |  | 11 | 8 | 7.5 | 1.5 |  | 3 | 6.5 | 7 | 7 | 4 |  | 9 | 8.5 | 7 | 12 |  | 10 | 9 | 7.5 | 1
2024-11-01 | 6 | 4 | 7 | 10 |  | 6 | 3.5 | 7 | 7 | 11 |  | 7.5 | 4.5 | 7.5 | 10 |  | 7.5 | 5 | 7 | 7 | 8.5 |  | 8 | 4 | 7 | 9.5 |  | 7 | 7 | 7.5 | 12
2024-12-01 | 8 | 11 | 7 | 6 |  | 12 | 11 | 7 | 7 | 7 |  | 9 | 11 | 7.5 | 4.5 |  | 6 | 11.5 | 7 | 7 | 6.5 |  | 10 | 10 | 7 | 6.5 |  | 11 | 10 | 7.5 | 5
Correlation
| pH | Total Dissolved Solids (TDS) | Iron (Fe) | Residual Chlorine (Cl2) |  | pH | Total Dissolved Solids (TDS) | Iron (Fe) | Manganese (Mn) | Residual Chlorine (Cl2) |  | pH | Total Dissolved Solids (TDS) | Iron (Fe) | Residual Chlorine (Cl2) |  | pH | Total Dissolved Solids (TDS) | Iron (Fe) | Manganese (Mn) | Residual Chlorine (Cl2) |  | pH | Total Dissolved Solids (TDS) | Iron (Fe) | Residual Chlorine (Cl2) |  | pH | Total Dissolved Solids (TDS) | Iron (Fe) | Residual Chlorine (Cl2)
Total Dissolved Solids (TDS) | 0.28671 |  |  |  | Total Dissolved Solids (TDS) | 0.48421 |  |  |  |  | Total Dissolved Solids (TDS) | 0.65439 |  |  |  | Total Dissolved Solids (TDS) | 0.34446 |  |  |  |  | Total Dissolved Solids (TDS) | 0.34622 |  |  |  | Total Dissolved Solids (TDS) | 0.43082
Iron (Fe) | -0.39304 | -0.48038 |  |  | Iron (Fe) | 0.48123 | -0.13124 |  |  |  | Iron (Fe) | -0.15078 | 0.11039 |  |  | Iron (Fe) | -0.087496 | 0.21912 |  |  |  | Iron (Fe) | 0.62526 | 0.26252 |  |  | Iron (Fe) | 0.23694 | 0.25265
Residual Chlorine (Cl2) | -0.11189 | -0.1958 | 0.48038 |  | Manganese (Mn) | -0.17499 | -0.48123 | -0.090909 |  |  | Residual Chlorine (Cl2) | -0.61512 | -0.45519 | 0.43695 |  | Manganese (Mn) | -0.30624 | 0.48207 | -0.090909 |  |  | Residual Chlorine (Cl2) | -0.042179 | -0.56162 | -0.04145 |  | Residual Chlorine (Cl2) | -0.16549 | -0.59052 | 0.02702
[5 empty] | Residual Chlorine (Cl2) | -0.17782 | -0.57747 | 0.43902 | 0.21951 | [6 empty] | Residual Chlorine (Cl2) | 0.16725 | -0.058201 | 0.13171 | 0

## Raw data complete
| Table S8 - Complete Raw Data of Outlet Umbulan | [10 empty] | Table S9 - Complete Raw Data of RM Winongan | [10 empty] | Table S10 - Complete Raw Data of RM Bangil | [10 empty] | Table S11 - Complete Raw Data of RM Sidoarjo | [10 empty] | Table S12 - Complete Raw Data of RM Putat Gede | [10 empty] | Table S13 - Complete Raw Data of RM Giri
| pH | Color | Total Dissolved Solids (TDS) | Odor | Iron (Fe) | Manganese (Mn) | Aluminum (Al) | Residual Chlorine (Cl2) | E. coli | Coliform |  | pH | Color | Total Dissolved Solids (TDS) | Odor | Iron (Fe) | Manganese (Mn) | Aluminum (Al) | Residual Chlorine (Cl2) | E. coli | Coliform |  | pH | Color | Total Dissolved Solids (TDS) | Odor | Iron (Fe) | Manganese (Mn) | Aluminum (Al) | Residual Chlorine (Cl2) | E. coli | Coliform |  | pH | Color | Total Dissolved Solids (TDS) | Odor | Iron (Fe) | Manganese (Mn) | Aluminum (Al) | Residual Chlorine (Cl2) | E. coli | Coliform |  | pH | Color | Total Dissolved Solids (TDS) | Odor | Iron (Fe) | Manganese (Mn) | Aluminum (Al) | Residual Chlorine (Cl2) | E. coli | Coliform |  | pH | Color | Total Dissolved Solids (TDS) | Odor | Iron (Fe) | Manganese (Mn) | Aluminum (Al) | Residual Chlorine (Cl2) | E. coli | Coliform
2024-01-01 | 7.29 | 0.165 | 155 | 0 | 0.016 | 0.003 | 0.0165 | 0.45 | 0 | 0 | 2024-01-01 | 7.3 | 0.165 | 160 | 0 | 0.016 | 0.003 | 0.0165 | 0.26 | 0 | 0 | 2024-01-01 | 7.42 | 0.165 | 155 | 0 | 0.016 | 0.003 | 0.0165 | 0.248 | 0 | 0 | 2024-01-01 | 7.28 | 0.165 | 157 | 0 | 0.016 | 0.012 | 0.0165 | 0.4 | 0 | 0 | 2024-01-01 | 7.39 | 0.165 | 162 | 0 | 0.016 | 0.003 | 0.0165 | 0.29 | 0 | 0 | 2024-01-01 | 7.33 | 0.165 | 158 | 0 | 0.016 | 0.003 | 0.0165 | 0.28 | 0 | 0
2024-02-01 | 7.57 | 0.165 | 153 | 0 | 0.016 | 0.003 | 0.0165 | 0.42 | 0 | 0 | 2024-02-01 | 7.54 | 0.165 | 153 | 0 | 0.016 | 0.003 | 0.0165 | 0.34 | 0 | 0 | 2024-02-01 | 7.61 | 0.165 | 150 | 0 | 0.016 | 0.003 | 0.0165 | 0.36 | 0 | 0 | 2024-02-01 | 7.54 | 0.165 | 155 | 0 | 0.016 | 0.003 | 0.0165 | 0.3 | 0 | 0 | 2024-02-01 | 7.49 | 0.165 | 156 | 0 | 0.016 | 0.003 | 0.0165 | 0.36 | 0 | 0 | 2024-02-01 | 7.51 | 0.165 | 155 | 0 | 0.016 | 0.003 | 0.0165 | 0.3 | 0 | 0
2024-03-01 | 7.25 | 0.165 | 109 | 0 | 0.16 | 0.003 | 0.0165 | 0.52 | 0 | 0 | 2024-03-01 | 7.28 | 0.165 | 107 | 0 | 0.016 | 0.033 | 0.0165 | 0.5 | 0 | 0 | 2024-03-01 | 7.28 | 0.165 | 109 | 0 | 0.016 | 0.003 | 0.0165 | 0.38 | 0 | 0 | 2024-03-01 | 7.08 | 0.165 | 113 | 0 | 0.016 | 0.003 | 0.0165 | 0.47 | 0 | 0 | 2024-03-01 | 7.16 | 0.165 | 109 | 0 | 0.016 | 0.003 | 0.0165 | 0.5 | 0 | 0 | 2024-03-01 | 7.14 | 0.165 | 107 | 0 | 0.016 | 0.003 | 0.0165 | 0.45 | 0 | 0
2024-04-01 | 7.42 | 0.165 | 128 | 0 | 0.016 | 0.003 | 0.0165 | 0.23 | 0 | 0 | 2024-04-01 | 7.46 | 0.165 | 123 | 0 | 0.016 | 0.003 | 0.0165 | 0.34 | 0 | 0 | 2024-04-01 | 7.41 | 0.165 | 118 | 0 | 0.016 | 0.003 | 0.0165 | 0.32 | 0 | 0 | 2024-04-01 | 7.46 | 0.165 | 122 | 0 | 0.016 | 0.003 | 0.0165 | 0.36 | 0 | 0 | 2024-04-01 | 7.5 | 0.165 | 121 | 0 | 0.016 | 0.003 | 0.0165 | 0.44 | 0 | 0 | 2024-04-01 | 7.48 | 0.165 | 119 | 0 | 0.016 | 0.003 | 0.0165 | 0.45 | 0 | 0
2024-05-01 | 7.36 | 0.165 | 119 | 0 | 0.016 | 0.003 | 0.0165 | 0.46 | 0 | 0 | 2024-05-01 | 7.24 | 0.165 | 116 | 0 | 0.016 | 0.003 | 0.0165 | 0.511 | 0 | 0 | 2024-05-01 | 7.35 | 0.165 | 128 | 0 | 0.016 | 0.003 | 0.0165 | 0.43 | 0 | 0 | 2024-05-01 | 7.26 | 0.165 | 126 | 0 | 0.016 | 0.003 | 0.0165 | 0.284 | 0 | 0 | 2024-05-01 | 7.15 | 0.165 | 129 | 0 | 0.03 | 0.003 | 0.0165 | 0.37 | 0 | 0 | 2024-05-01 | 7.26 | 0.165 | 146 | 0 | 0.036 | 0.003 | 0.0165 | 0.29 | 0 | 0
2024-06-01 | 7.68 | 0.165 | 129 | 0 | 0.016 | 0.003 | 0.0165 | 0.43 | 0 | 0 | 2024-06-01 | 7.74 | 0.165 | 126 | 0 | 0.034 | 0.003 | 0.0165 | 0.52 | 0 | 0 | 2024-06-01 | 7.58 | 0.165 | 134 | 0 | 0.016 | 0.003 | 0.0165 | 0.27 | 0 | 0 | 2024-06-01 | 7.5 | 0.165 | 132 | 0 | 0.016 | 0.003 | 0.0165 | 0.47 | 0 | 0 | 2024-06-01 | 7.49 | 0.165 | 129 | 0 | 0.016 | 0.003 | 0.0165 | 0.38 | 0 | 0 | 2024-06-01 | 7.48 | 0.165 | 136 | 0 | 0.016 | 0.003 | 0.0165 | 0.28 | 0 | 0
2024-07-01 | 7.24 | 0.165 | 130 | 0 | 0.016 | 0.003 | 0.0165 | 0.32 | 0 | 0 | 2024-07-01 | 7.28 | 0.165 | 135 | 0 | 0.016 | 0.003 | 0.0165 | 0.52 | 0 | 0 | 2024-07-01 | 7.24 | 0.165 | 133 | 0 | 0.033 | 0.003 | 0.0165 | 0.44 | 0 | 0 | 2024-07-01 | 7.35 | 0.165 | 124 | 0 | 0.016 | 0.003 | 0.0165 | 0.33 | 0 | 0 | 2024-07-01 | 7.4 | 0.165 | 128 | 0 | 0.016 | 0.003 | 0.0165 | 0.43 | 0 | 0 | 2024-07-01 | 7.43 | 0.165 | 130 | 0 | 0.016 | 0.003 | 0.0165 | 0.3 | 0 | 0
2024-08-01 | 7.56 | 0.165 | 147 | 0 | 0.016 | 0.003 | 0.0165 | 0.38 | 0 | 0 | 2024-08-01 | 7.52 | 0.165 | 141 | 0 | 0.016 | 0.003 | 0.0165 | 0.31 | 0 | 0 | 2024-08-01 | 7.64 | 0.165 | 147 | 0 | 0.016 | 0.003 | 0.0165 | 0.34 | 0 | 0 | 2024-08-01 | 7.6 | 0.165 | 153 | 0 | 0.016 | 0.003 | 0.0165 | 0.45 | 0 | 0 | 2024-08-01 | 7.54 | 0.165 | 155 | 0 | 0.091 | 0.003 | 0.0165 | 0.28 | 0 | 0 | 2024-08-01 | 7.45 | 0.165 | 149 | 0 | 0.016 | 0.003 | 0.0165 | 0.31 | 0 | 0
2024-09-01 | 7.62 | 0.165 | 134 | 0 | 0.016 | 0.003 | 0.0165 | 0.37 | 0 | 0 | 2024-09-01 | 7.51 | 0.165 | 133 | 0 | 0.016 | 0.003 | 0.0165 | 0.47 | 0 | 0 | 2024-09-01 | 7.48 | 0.165 | 138 | 0 | 0.041 | 0.003 | 0.0165 | 0.42 | 0 | 0 | 2024-09-01 | 7.38 | 0.165 | 142 | 0 | 0.119 | 0.003 | 0.0165 | 0.42 | 0 | 0 | 2024-09-01 | 7.47 | 0.165 | 136 | 0 | 0.035 | 0.003 | 0.0165 | 0.46 | 0 | 0 | 2024-09-01 | 7.53 | 0.165 | 137 | 0 | 0.045 | 0.003 | 0.0165 | 0.42 | 0 | 0
2024-10-01 | 7.27 | 0.165 | 133 | 0 | 0.016 | 0.003 | 0.0165 | 0.39 | 0 | 0 | 2024-10-01 | 7.25 | 0.165 | 132 | 0 | 0.016 | 0.003 | 0.0165 | 0.47 | 0 | 0 | 2024-10-01 | 7.27 | 0.165 | 129 | 0 | 0.016 | 0.003 | 0.0165 | 0.44 | 0 | 0 | 2024-10-01 | 7.51 | 0.165 | 132 | 0 | 0.016 | 0.003 | 0.0165 | 0.44 | 0 | 0 | 2024-10-01 | 7.3 | 0.165 | 128 | 0 | 0.016 | 0.003 | 0.0165 | 0.26 | 0 | 0 | 2024-10-01 | 7.25 | 0.165 | 128 | 0 | 0.016 | 0.003 | 0.0165 | 0.47 | 0 | 0
2024-11-01 | 7.38 | 0.165 | 137 | 0 | 0.016 | 0.003 | 0.0165 | 0.35 | 0 | 0 | 2024-11-01 | 7.34 | 0.165 | 141 | 0 | 0.016 | 0.003 | 0.0165 | 0.27 | 0 | 0 | 2024-11-01 | 7.35 | 0.165 | 138 | 0 | 0.016 | 0.003 | 0.0165 | 0.3 | 0 | 0 | 2024-11-01 | 7.38 | 0.165 | 136 | 0 | 0.016 | 0.003 | 0.0165 | 0.36 | 0 | 0 | 2024-11-01 | 7.38 | 0.165 | 140 | 0 | 0.016 | 0.003 | 0.0165 | 0.29 | 0 | 0 | 2024-11-01 | 7.36 | 0.165 | 135 | 0 | 0.016 | 0.003 | 0.0165 | 0.27 | 0 | 0
2024-12-01 | 7.34 | 0.165 | 117 | 0 | 0.016 | 0.003 | 0.0165 | 0.4 | 0 | 0 | 2024-12-01 | 7.19 | 0.165 | 115 | 0 | 0.016 | 0.003 | 0.0165 | 0.46 | 0 | 0 | 2024-12-01 | 7.31 | 0.165 | 113 | 0 | 0.016 | 0.003 | 0.0165 | 0.42 | 0 | 0 | 2024-12-01 | 7.41 | 0.165 | 113 | 0 | 0.016 | 0.003 | 0.0165 | 0.4 | 0 | 0 | 2024-12-01 | 7.2 | 0.165 | 123 | 0 | 0.016 | 0.003 | 0.0165 | 0.37 | 0 | 0 | 2024-12-01 | 7.15 | 0.165 | 125 | 0 | 0.016 | 0.003 | 0.0165 | 0.37 | 0 | 0
| Rank pH | Rank Color | Rank Total Dissolved Solids (TDS) | Rank Odor | Rank Iron (Fe) | Rank Manganese (Mn) | Rank Aluminum (Al) | Rank Residual Chlorine (Cl2) | Rank E. coli | Rank Coliform |  | Rank pH | Rank Color | Rank Total Dissolved Solids (TDS) | Rank Odor | Rank Iron (Fe) | Rank Manganese (Mn) | Rank Aluminum (Al) | Rank Residual Chlorine (Cl2) | Rank E. coli | Rank Coliform |  | Rank pH | Rank Color | Rank Total Dissolved Solids (TDS) | Rank Odor | Rank Iron (Fe) | Rank Manganese (Mn) | Rank Aluminum (Al) | Rank Residual Chlorine (Cl2) | Rank E. coli | Rank Coliform |  | Rank pH | Rank Color | Rank Total Dissolved Solids (TDS) | Rank Odor | Rank Iron (Fe) | Rank Manganese (Mn) | Rank Aluminum (Al) | Rank Residual Chlorine (Cl2) | Rank E. coli | Rank Coliform |  | Rank pH | Rank Color | Rank Total Dissolved Solids (TDS) | Rank Odor | Rank Iron (Fe) | Rank Manganese (Mn) | Rank Aluminum (Al) | Rank Residual Chlorine (Cl2) | Rank E. coli | Rank Coliform |  | Rank pH | Rank Color | Rank Total Dissolved Solids (TDS) | Rank Odor | Rank Iron (Fe) | Rank Manganese (Mn) | Rank Aluminum (Al) | Rank Residual Chlorine (Cl2) | Rank E. coli | Rank Coliform
2024-01-01 | 9 | 6.5 | 1 | 6.5 | 7 | 6.5 | 6.5 | 3 | 6.5 | 6.5 |  | 7 | 6.5 | 1 | 6.5 | 7 | 7 | 6.5 | 12 | 6.5 | 6.5 |  | 5 | 6.5 | 1 | 6.5 | 7.5 | 6.5 | 6.5 | 12 | 6.5 | 6.5 |  | 10 | 6.5 | 1 | 6.5 | 7 | 1 | 6.5 | 6.5 | 6.5 | 6.5 |  | 7 | 6.5 | 1 | 6.5 | 8 | 6.5 | 6.5 | 9.5 | 6.5 | 6.5 |  | 8 | 6.5 | 1 | 6.5 | 7.5 | 6.5 | 6.5 | 10.5 | 6.5 | 6.5
2024-02-01 | 3 | 6.5 | 2 | 6.5 | 7 | 6.5 | 6.5 | 5 | 6.5 | 6.5 |  | 2 | 6.5 | 2 | 6.5 | 7 | 7 | 6.5 | 8.5 | 6.5 | 6.5 |  | 2 | 6.5 | 2 | 6.5 | 7.5 | 6.5 | 6.5 | 7 | 6.5 | 6.5 |  | 2 | 6.5 | 2 | 6.5 | 7 | 7 | 6.5 | 11 | 6.5 | 6.5 |  | 3.5 | 6.5 | 2 | 6.5 | 8 | 6.5 | 6.5 | 8 | 6.5 | 6.5 |  | 2 | 6.5 | 2 | 6.5 | 7.5 | 6.5 | 6.5 | 7.5 | 6.5 | 6.5
2024-03-01 | 11 | 6.5 | 12 | 6.5 | 1 | 6.5 | 6.5 | 1 | 6.5 | 6.5 |  | 8.5 | 6.5 | 12 | 6.5 | 7 | 1 | 6.5 | 4 | 6.5 | 6.5 |  | 10 | 6.5 | 12 | 6.5 | 7.5 | 6.5 | 6.5 | 6 | 6.5 | 6.5 |  | 12 | 6.5 | 11.5 | 6.5 | 7 | 7 | 6.5 | 1.5 | 6.5 | 6.5 |  | 11 | 6.5 | 12 | 6.5 | 8 | 6.5 | 6.5 | 1 | 6.5 | 6.5 |  | 12 | 6.5 | 12 | 6.5 | 7.5 | 6.5 | 6.5 | 2.5 | 6.5 | 6.5
2024-04-01 | 5 | 6.5 | 9 | 6.5 | 7 | 6.5 | 6.5 | 12 | 6.5 | 6.5 |  | 5 | 6.5 | 9 | 6.5 | 7 | 7 | 6.5 | 8.5 | 6.5 | 6.5 |  | 6 | 6.5 | 10 | 6.5 | 7.5 | 6.5 | 6.5 | 9 | 6.5 | 6.5 |  | 5 | 6.5 | 10 | 6.5 | 7 | 7 | 6.5 | 8.5 | 6.5 | 6.5 |  | 2 | 6.5 | 11 | 6.5 | 8 | 6.5 | 6.5 | 3 | 6.5 | 6.5 |  | 3.5 | 6.5 | 11 | 6.5 | 7.5 | 6.5 | 6.5 | 2.5 | 6.5 | 6.5
2024-05-01 | 7 | 6.5 | 10 | 6.5 | 7 | 6.5 | 6.5 | 2 | 6.5 | 6.5 |  | 11 | 6.5 | 10 | 6.5 | 7 | 7 | 6.5 | 3 | 6.5 | 6.5 |  | 7.5 | 6.5 | 9 | 6.5 | 7.5 | 6.5 | 6.5 | 3 | 6.5 | 6.5 |  | 11 | 6.5 | 8 | 6.5 | 7 | 7 | 6.5 | 12 | 6.5 | 6.5 |  | 12 | 6.5 | 6.5 | 6.5 | 3 | 6.5 | 6.5 | 6.5 | 6.5 | 6.5 |  | 9 | 6.5 | 4 | 6.5 | 2 | 6.5 | 6.5 | 9 | 6.5 | 6.5
2024-06-01 | 1 | 6.5 | 8 | 6.5 | 7 | 6.5 | 6.5 | 4 | 6.5 | 6.5 |  | 1 | 6.5 | 8 | 6.5 | 1 | 7 | 6.5 | 1.5 | 6.5 | 6.5 |  | 3 | 6.5 | 6 | 6.5 | 7.5 | 6.5 | 6.5 | 11 | 6.5 | 6.5 |  | 4 | 6.5 | 6.5 | 6.5 | 7 | 7 | 6.5 | 1.5 | 6.5 | 6.5 |  | 3.5 | 6.5 | 6.5 | 6.5 | 8 | 6.5 | 6.5 | 5 | 6.5 | 6.5 |  | 3.5 | 6.5 | 6 | 6.5 | 7.5 | 6.5 | 6.5 | 10.5 | 6.5 | 6.5
2024-07-01 | 12 | 6.5 | 7 | 6.5 | 7 | 6.5 | 6.5 | 11 | 6.5 | 6.5 |  | 8.5 | 6.5 | 5 | 6.5 | 7 | 7 | 6.5 | 1.5 | 6.5 | 6.5 |  | 12 | 6.5 | 7 | 6.5 | 2 | 6.5 | 6.5 | 1.5 | 6.5 | 6.5 |  | 9 | 6.5 | 9 | 6.5 | 7 | 7 | 6.5 | 10 | 6.5 | 6.5 |  | 6 | 6.5 | 8.5 | 6.5 | 8 | 6.5 | 6.5 | 4 | 6.5 | 6.5 |  | 6 | 6.5 | 8 | 6.5 | 7.5 | 6.5 | 6.5 | 7.5 | 6.5 | 6.5
2024-08-01 | 4 | 6.5 | 3 | 6.5 | 7 | 6.5 | 6.5 | 8 | 6.5 | 6.5 |  | 3 | 6.5 | 3.5 | 6.5 | 7 | 7 | 6.5 | 10 | 6.5 | 6.5 |  | 1 | 6.5 | 3 | 6.5 | 7.5 | 6.5 | 6.5 | 8 | 6.5 | 6.5 |  | 1 | 6.5 | 3 | 6.5 | 7 | 7 | 6.5 | 3 | 6.5 | 6.5 |  | 1 | 6.5 | 3 | 6.5 | 1 | 6.5 | 6.5 | 11 | 6.5 | 6.5 |  | 5 | 6.5 | 3 | 6.5 | 7.5 | 6.5 | 6.5 | 6 | 6.5 | 6.5
2024-09-01 | 2 | 6.5 | 5 | 6.5 | 7 | 6.5 | 6.5 | 9 | 6.5 | 6.5 |  | 4 | 6.5 | 6 | 6.5 | 7 | 7 | 6.5 | 5.5 | 6.5 | 6.5 |  | 4 | 6.5 | 4.5 | 6.5 | 1 | 6.5 | 6.5 | 4.5 | 6.5 | 6.5 |  | 7.5 | 6.5 | 4 | 6.5 | 1 | 7 | 6.5 | 5 | 6.5 | 6.5 |  | 5 | 6.5 | 5 | 6.5 | 2 | 6.5 | 6.5 | 2 | 6.5 | 6.5 |  | 1 | 6.5 | 5 | 6.5 | 1 | 6.5 | 6.5 | 4 | 6.5 | 6.5
2024-10-01 | 10 | 6.5 | 6 | 6.5 | 7 | 6.5 | 6.5 | 7 | 6.5 | 6.5 |  | 10 | 6.5 | 7 | 6.5 | 7 | 7 | 6.5 | 5.5 | 6.5 | 6.5 |  | 11 | 6.5 | 8 | 6.5 | 7.5 | 6.5 | 6.5 | 1.5 | 6.5 | 6.5 |  | 3 | 6.5 | 6.5 | 6.5 | 7 | 7 | 6.5 | 4 | 6.5 | 6.5 |  | 9 | 6.5 | 8.5 | 6.5 | 8 | 6.5 | 6.5 | 12 | 6.5 | 6.5 |  | 10 | 6.5 | 9 | 6.5 | 7.5 | 6.5 | 6.5 | 1 | 6.5 | 6.5
2024-11-01 | 6 | 6.5 | 4 | 6.5 | 7 | 6.5 | 6.5 | 10 | 6.5 | 6.5 |  | 6 | 6.5 | 3.5 | 6.5 | 7 | 7 | 6.5 | 11 | 6.5 | 6.5 |  | 7.5 | 6.5 | 4.5 | 6.5 | 7.5 | 6.5 | 6.5 | 10 | 6.5 | 6.5 |  | 7.5 | 6.5 | 5 | 6.5 | 7 | 7 | 6.5 | 8.5 | 6.5 | 6.5 |  | 8 | 6.5 | 4 | 6.5 | 8 | 6.5 | 6.5 | 9.5 | 6.5 | 6.5 |  | 7 | 6.5 | 7 | 6.5 | 7.5 | 6.5 | 6.5 | 12 | 6.5 | 6.5
2024-12-01 | 8 | 6.5 | 11 | 6.5 | 7 | 6.5 | 6.5 | 6 | 6.5 | 6.5 |  | 12 | 6.5 | 11 | 6.5 | 7 | 7 | 6.5 | 7 | 6.5 | 6.5 |  | 9 | 6.5 | 11 | 6.5 | 7.5 | 6.5 | 6.5 | 4.5 | 6.5 | 6.5 |  | 6 | 6.5 | 11.5 | 6.5 | 7 | 7 | 6.5 | 6.5 | 6.5 | 6.5 |  | 10 | 6.5 | 10 | 6.5 | 8 | 6.5 | 6.5 | 6.5 | 6.5 | 6.5 |  | 11 | 6.5 | 10 | 6.5 | 7.5 | 6.5 | 6.5 | 5 | 6.5 | 6.5
Correlation
| pH | Color | Total Dissolved Solids (TDS) | Odor | Iron (Fe) | Manganese (Mn) | Aluminum (Al) | Residual Chlorine (Cl2) | E. coli | Coliform

## Spearman Analysis
Table 2 - The six sites of yearlong monitoring DWQ
Resevoir Meter (RM)
| Outlet Umbulan |  | RM Winongan |  | RM Bangil |  | RM Sidoarjo |  | RM Putat Gede |  | RM Giri
Parameter | Rate | Dev | Rate2 | Dev2 | Rate3 | Dev3 | Rate4 | Dev4 | Rate5 | Dev5 | Rate6 | Dev6
pH | 7.415 | 0.12917 | 7.3875 | 0.13875 | 7.4117 | 0.11194 | 7.3958 | 0.1075 | 7.3725 | 0.11333 | 7.3642 | 0.11583
TDS | 132.5833 | 10.5833 | 131.8333 | 12.0278 | 132.6667 | 11.0556 | 133.75 | 12.375 | 134.6667 | 12.6111 | 135.4167 | 11.4167
Fe | 0.042575 | 0.019571 | 0.032075 | 0.00032083 | 0.03275 | 0.0014167 | 0.039158 | 0.013307 | 0.036925 | 0.0090125 | 0.033333 | 0.0023889
Cl2 | 0.39333 | 0.053333 | 0.41425 | 0.091875 | 0.364 | 0.057667 | 0.39033 | 0.052944 | 0.36917 | 0.060972 | 0.34917 | 0.069028
Mn | 0.006 |  | 0.0081583 | 0.0041403 | 0.006 |  | 0.0064083 | 0.00093194 | 0.006 |  | 0.006
Al | 0.033
E. coli | 0
Coliform | 0
Color | 0.33
Odor | odorless
Table S 14 - Spearman Analysis Process
Site + Parameter | Open (Rate) | High | Low | Close (Rate) |  | Site + Parameter | Open (Rate) | High | Low | Close (Rate)
pH Outlet Umbulan | 7.415 | 7.5442 | 7.2858 | 7.415 |  | pH Outlet Umbulan | 7.415 | 7.5442 | 7.2858 | 7.415
pH RM Winongan | 7.3875 | 7.5263 | 7.2488 | 7.3875 |  | pH RM Winongan | 7.3875 | 7.5263 | 7.2488 | 7.3875
pH RM Bangil | 7.4117 | 7.5236 | 7.2997 | 7.4117 |  | pH RM Bangil | 7.4117 | 7.5236 | 7.2997 | 7.4117
pH RM Sidoarjo | 7.3958 | 7.5033 | 7.2883 | 7.3958 |  | pH RM Sidoarjo | 7.3958 | 7.5033 | 7.2883 | 7.3958
pH RM Putat Gede | 7.3725 | 7.4858 | 7.2592 | 7.3725 |  | pH RM Putat Gede | 7.3725 | 7.4858 | 7.2592 | 7.3725
pH RM Giri | 7.3642 | 7.48 | 7.2483 | 7.3642 |  | pH RM Giri | 7.3642 | 7.48 | 7.2483 | 7.3642
TDS Outlet Umbulan | 132.5833 | 143.1667 | 122 | 132.5833 |  | Fe Outlet Umbulan | 0.042575 | 0.062146 | 0.023004 | 0.042575
TDS RM Winongan | 131.8333 | 143.8611 | 119.8056 | 131.8333 |  | Fe RM Winongan | 0.032075 | 0.032396 | 0.031754 | 0.032075
TDS RM Bangil | 132.6667 | 143.7222 | 121.6111 | 132.6667 |  | Fe RM Bangil | 0.03275 | 0.034167 | 0.031333 | 0.03275
TDS RM Sidoarjo | 133.75 | 146.125 | 121.375 | 133.75 |  | Fe RM Sidoarjo | 0.039158 | 0.052465 | 0.025851 | 0.039158
TDS RM Putat Gede | 134.6667 | 147.2778 | 122.0556 | 134.6667 |  | Fe RM Putat Gede | 0.036925 | 0.045937 | 0.027912 | 0.036925
TDS RM Giri | 135.4167 | 146.8333 | 124 | 135.4167 |  | Fe RM Giri | 0.033333 | 0.035722 | 0.030944 | 0.033333
Fe Outlet Umbulan | 0.042575 | 0.062146 | 0.023004 | 0.042575 |  | Cl2 Outlet Umbulan | 0.39333 | 0.44667 | 0.34 | 0.39333
Fe RM Winongan | 0.032075 | 0.032396 | 0.031754 | 0.032075 |  | Cl2 RM Winongan | 0.41425 | 0.50613 | 0.32238 | 0.41425
Fe RM Bangil | 0.03275 | 0.034167 | 0.031333 | 0.03275 |  | Cl2 RM Bangil | 0.364 | 0.42167 | 0.30633 | 0.364
Fe RM Sidoarjo | 0.039158 | 0.052465 | 0.025851 | 0.039158 |  | Cl2 RM Sidoarjo | 0.39033 | 0.44328 | 0.33739 | 0.39033
Fe RM Putat Gede | 0.036925 | 0.045937 | 0.027912 | 0.036925 |  | Cl2 RM Putat Gede | 0.36917 | 0.43014 | 0.30819 | 0.36917
Fe RM Giri | 0.033333 | 0.035722 | 0.030944 | 0.033333 |  | Cl2 RM Giri | 0.34917 | 0.41819 | 0.28014 | 0.34917
Cl2 Outlet Umbulan | 0.39333 | 0.44667 | 0.34 | 0.39333 |  | Mn Outlet Umbulan | 0.006 | 0.006 | 0.006 | 0.006
Cl2 RM Winongan | 0.41425 | 0.50613 | 0.32238 | 0.41425 |  | Mn RM Winongan | 0.0081583 | 0.012299 | 0.0040181 | 0.0081583
Cl2 RM Bangil | 0.364 | 0.42167 | 0.30633 | 0.364 |  | Mn RM Bangil | 0.006 | 0.006 | 0.006 | 0.006
Cl2 RM Sidoarjo | 0.39033 | 0.44328 | 0.33739 | 0.39033 |  | Mn RM Sidoarjo | 0.0064083 | 0.0073403 | 0.0054764 | 0.0064083
Cl2 RM Putat Gede | 0.36917 | 0.43014 | 0.30819 | 0.36917 |  | Mn RM Putat Gede | 0.006 | 0.006 | 0.006 | 0.006
Cl2 RM Giri | 0.34917 | 0.41819 | 0.28014 | 0.34917 |  | Mn RM Giri | 0.006 | 0.006 | 0.006 | 0.006
Mn Outlet Umbulan | 0.006 | 0.006 | 0.006 | 0.006 |  | Al Outlet Umbulan | 0.033 | 0.033 | 0.033 | 0.033
Mn RM Winongan | 0.0081583 | 0.012299 | 0.0040181 | 0.0081583 |  | Al RM Winongan | 0 | 0 | 0 | 0
Mn RM Bangil | 0.006 | 0.006 | 0.006 | 0.006 |  | Al RM Bangil | 0 | 0 | 0 | 0
Mn RM Sidoarjo | 0.0064083 | 0.0073403 | 0.0054764 | 0.0064083 |  | Al RM Sidoarjo | 0 | 0 | 0 | 0
Mn RM Putat Gede | 0.006 | 0.006 | 0.006 | 0.006 |  | Al RM Putat Gede | 0 | 0 | 0 | 0
Mn RM Giri | 0.006 | 0.006 | 0.006 | 0.006 |  | Al RM Giri | 0 | 0 | 0 | 0
Al Outlet Umbulan | 0.033 | 0.033 | 0.033 | 0.033 |  | E. coli Outlet Umbulan | 0 | 0 | 0 | 0
Al RM Winongan | 0 | 0 | 0 | 0 |  | E. coli RM Winongan | 0 | 0 | 0 | 0
Al RM Bangil | 0 | 0 | 0 | 0 |  | E. coli RM Bangil | 0 | 0 | 0 | 0
Al RM Sidoarjo | 0 | 0 | 0 | 0 |  | E. coli RM Sidoarjo | 0 | 0 | 0 | 0
Al RM Putat Gede | 0 | 0 | 0 | 0 |  | E. coli RM Putat Gede | 0 | 0 | 0 | 0
Al RM Giri | 0 | 0 | 0 | 0 |  | E. coli RM Giri | 0 | 0 | 0 | 0
E. coli Outlet Umbulan | 0 | 0 | 0 | 0 |  | Coliform Outlet Umbulan | 0 | 0 | 0 | 0
E. coli RM Winongan | 0 | 0 | 0 | 0 |  | Coliform RM Winongan | 0 | 0 | 0 | 0
E. coli RM Bangil | 0 | 0 | 0 | 0 |  | Coliform RM Bangil | 0 | 0 | 0 | 0
E. coli RM Sidoarjo | 0 | 0 | 0 | 0 |  | Coliform RM Sidoarjo | 0 | 0 | 0 | 0
E. coli RM Putat Gede | 0 | 0 | 0 | 0 |  | Coliform RM Putat Gede | 0 | 0 | 0 | 0
E. coli RM Giri | 0 | 0 | 0 | 0 |  | Coliform RM Giri | 0 | 0 | 0 | 0
Coliform Outlet Umbulan | 0 | 0 | 0 | 0 |  | Color Outlet Umbulan | 0.33 | 0.33 | 0.33 | 0.33
Coliform RM Winongan | 0 | 0 | 0 | 0 |  | Color RM Winongan | 0 | 0 | 0 | 0
Coliform RM Bangil | 0 | 0 | 0 | 0 |  | Color RM Bangil | 0 | 0 | 0 | 0
Coliform RM Sidoarjo | 0 | 0 | 0 | 0 |  | Color RM Sidoarjo | 0 | 0 | 0 | 0
Coliform RM Putat Gede | 0 | 0 | 0 | 0 |  | Color RM Putat Gede | 0 | 0 | 0 | 0
Coliform RM Giri | 0 | 0 | 0 | 0 |  | Color RM Giri | 0 | 0 | 0 | 0
Color Outlet Umbulan | 0.33 | 0.33 | 0.33 | 0.33 |  | Odor Outlet Umbulan | 0 | 0 | 0 | 0
Color RM Winongan | 0 | 0 | 0 | 0 |  | Odor RM Winongan | 0 | 0 | 0 | 0
Color RM Bangil | 0 | 0 | 0 | 0 |  | Odor RM Bangil | 0 | 0 | 0 | 0
Color RM Sidoarjo | 0 | 0 | 0 | 0 |  | Odor RM Sidoarjo | 0 | 0 | 0 | 0
Color RM Putat Gede | 0 | 0 | 0 | 0 |  | Odor RM Putat Gede | 0 | 0 | 0 | 0
Color RM Giri | 0 | 0 | 0 | 0 |  | Odor RM Giri | 0 | 0 | 0 | 0
Odor Outlet Umbulan | 0 | 0 | 0 | 0 |  | TDS Outlet Umbulan | 132.5833 | 143.1667 | 122 | 132.5833
Odor RM Winongan | 0 | 0 | 0 | 0 |  | TDS RM Winongan | 131.8333 | 143.8611 | 119.8056 | 131.8333
Odor RM Bangil | 0 | 0 | 0 | 0 |  | TDS RM Bangil | 132.6667 | 143.7222 | 121.6111 | 132.6667
Odor RM Sidoarjo | 0 | 0 | 0 | 0 |  | TDS RM Sidoarjo | 133.75 | 146.125 | 121.375 | 133.75
Odor RM Putat Gede | 0 | 0 | 0 | 0 |  | TDS RM Putat Gede | 134.6667 | 147.2778 | 122.0556 | 134.6667
Odor RM Giri | 0 | 0 | 0 | 0 |  | TDS RM Giri | 135.4167 | 146.8333 | 124 | 135.4167

## Main Table 1
Table 1. Methodology summary
Aspects | Description
Research Design | Case study with longitudinal time series analysis
Study Period | 12 months (January 5 - December 3, 2024)
Sampling Sites | 6 strategic reservoir meters (Outlet Umbulan, RM Bangil, RM Winongan, RM Sidoarjo, RM Putat Gede, RM Giri)
Sampling Frequency | Monthly (n=12 observations per site)
Parameters Monitored | 11 total: 2 physical (odor, color), 7 chemical (pH, TDS, Fe, Mn, Al, residual Cl₂), 2 microbiological (E. coli, total coliform)
Analytical Methods | • Spectrophotometry (color)
• Nephelometry (turbidity)
• Potentiometry (pH)
• Gravimetric (TDS)
• ICP-OES (metals)
• DPD method (residual chlorine)
• Membrane filtration (microbiological)
Statistical Analysis | • Time series plots for temporal dynamics
• Spearman rank correlation (ρ) for parameter relationships
• Significance testing at α = 0.05
• Software: R version 4.3.1 (Hmisc package)
Quality Standards | Ministry of Health (MoH) Regulation No. 2/2023 on drinking water quality requirements
Data Interpretation | • Compliance assessment vs. regulatory standards
• Identification of temporal trends and seasonal patterns
• Correlation analysis with chemical mechanism interpretation
• SDG 6 alignment assessment

## Main Table 2 - 4
Table 2 - The six sites of yearlong monitoring DWQ
Resevoir Meter (RM)
| Outlet Umbulan |  | RM Winongan |  | RM Bangil |  | RM Sidoarjo |  | RM Putat Gede |  | RM Giri
Parameter | Rate | Dev | Rate2 | Dev2 | Rate3 | Dev3 | Rate4 | Dev4 | Rate5 | Dev5 | Rate6 | Dev6
pH | 7.415 | 0.12917 | 7.3875 | 0.13875 | 7.4117 | 0.11194 | 7.3958 | 0.1075 | 7.3725 | 0.11333 | 7.3642 | 0.11583
Total Dissolved Solids (TDS) | 132.5833 | 10.5833 | 131.8333 | 12.0278 | 132.6667 | 11.0556 | 133.75 | 12.375 | 134.6667 | 12.6111 | 135.4167 | 11.4167
Iron (Fe) | 0.042575 | 0.019571 | 0.032075 | 0.00032083 | 0.03275 | 0.0014167 | 0.039158 | 0.013307 | 0.036925 | 0.0090125 | 0.033333 | 0.0023889
Residual Chlorine (Cl2) | 0.39333 | 0.053333 | 0.41425 | 0.091875 | 0.364 | 0.057667 | 0.39033 | 0.052944 | 0.36917 | 0.060972 | 0.34917 | 0.069028
Manganese (Mn) | 0.006 |  | 0.0081583 | 0.0041403 | 0.006 |  | 0.0064083 | 0.00093194 | 0.006 |  | 0.006
Aluminum (Al) | 0.033
E. coli | 0
Coliform | 0
Color | 0.33
Odor | odorless
Table 3 - Spearman rank correlation analysis with P value <0.05
| Number | Site |  | Parameter Pair | Spearman rho | P-Value | Strength and Direction
| 1 | RM Bangil |  | pH - Total Dissolved Solids (TDS) | 0.6544 | 0.021 | Moderate Positive
| 2 | RM Bangil |  | pH - Residual Chlorine (Cl2) | -0.6151 | 0.0333 | Moderate Negative
| 3 | RM Putat Gede |  | pH - Iron (Fe) | 0.6253 | 0.0297 | Moderate Positive
| 4 | RM Putat Gede |  | Total Dissolved Solids (TDS) - Residual Chlorine (Cl2) | -0.5616 | 0.0574 | Moderate Negative
| 5 | RM Winongan |  | Total Dissolved Solids (TDS) - Residual Chlorine (Cl2) | -0.5775 | 0.0493 | Moderate Negative
| 6 | RM Giri |  | Total Dissolved Solids (TDS) - Residual Chlorine (Cl2) | -0.5905 | 0.0432 | Moderate Negative
Table 4 - Spearman rank correlation analysis between parameter in monitored site.
Resevoir Meter (RM)
| Outlet Umbulan |  | RM Winongan |  | RM Bangil |  | RM Sidoarjo |  | RM Putat Gede |  | RM Giri
Parameter Pair | Spearman rho | P-Value | Spearman rho | P-Value | Spearman rho | P-Value | Spearman rho | P-Value | Spearman rho | P-Value | Spearman rho | P-Value
pH - Total Dissolved Solids (TDS) | 0.2867 | 0.3663 | 0.4842 | 0.1107 | 0.6544 | 0.021 | 0.3445 | 0.2729 | 0.3462 | 0.2703 | 0.4308 | 0.1621
pH - Iron (Fe) | -0.393 | 0.2063 | 0.4812 | 0.1132 | -0.1508 | 0.64 | -0.0875 | 0.7869 | 0.6253 | 0.0297 | 0.2369 | 0.4584
pH - Manganese (Mn) |  |  | -0.175 | 0.5865 |  |  | -0.3062 | 0.333
pH - Residual Chlorine (Cl2) | -0.1119 | 0.7292 | -0.1778 | 0.5803 | -0.6151 | 0.0333 | 0.1673 | 0.6034 | -0.0422 | 0.8964 | -0.1655 | 0.6072
Total Dissolved Solids (TDS) - Iron (Fe) | -0.4804 | 0.1139 | -0.1312 | 0.6843 | 0.1104 | 0.7327 | 0.2191 | 0.4938 | 0.2625 | 0.4098 | 0.2527 | 0.4282
Total Dissolved Solids (TDS) - Manganese (Mn) |  |  | -0.4812 | 0.1132 |  |  | 0.4821 | 0.1125
Total Dissolved Solids (TDS) - Residual Chlorine (Cl2) | -0.1958 | 0.5419 | -0.5775 | 0.0493 | -0.4552 | 0.137 | -0.0582 | 0.8574 | -0.5616 | 0.0574 | -0.5905 | 0.0432
Iron (Fe) - Manganese (Mn) |  |  | -0.0909 | 0.7787 |  |  | -0.0909 | 0.7787
Iron (Fe) - Residual Chlorine (Cl2) | 0.4804 | 0.1139 | 0.439 | 0.1533 | 0.437 | 0.1555 | 0.1317 | 0.6833 | -0.0415 | 0.8982 | 0.027 | 0.9336
Manganese (Mn) - Residual Chlorine (Cl2) |  |  | 0.2195 | 0.493 |  |  | 0 | 1

## Main Figure
Figure 1. Publication Trends
Figure 2. Research methodology flowchart
Figure 3. Water Dustribution System
Figure 4 Physical Data
Figure 5. Graph of Chemical and Microbiological data
A
B